**SCREEING REPORT**

**Test Number:** 14665A01  **Date:**2020-01-16

**Sample Name:** A123 Systems ANR26650

**Chemistry:** LiFePO4/C

**Voltage Statistic Table**

All samples OCV CCV

**Maximum:** **1.812** **1.783**

**Minimum:** **1.737** **1.713**

**Median:** **1.796** **1.767**

**Mean (M):** **1.783** **1.755**

**Stander Deviation (SD):** **0.02982** **0.02722**

**Total Samples:** **9** **9**

**Total Passing Criterion:** **9** **9**

**Total Failing Criterion:** **0** **0**

**95%** **confidence Interval (Min/Max)** **1.760/1.806** **1.734/1.776**

**Total Samples Outside Range:** **0** **0**

**OCV >or= 1.600**

**CCV >or= 1.500 @ 25 Ohms for 3 Seconds.**

**CUMULATIVE TABLE**

|  |  |  |  |
| --- | --- | --- | --- |
| **All Sample OCV** | | **All Sample CCV** | |
| Voltage Range | Samples | Voltage Range | Samples |
| 1.812-1.787 | 6 | 1.783-1.760 | 6 |
| 1.787-1.762 | 0 | 1.760-1.737 | 0 |
| 1.762-1.737 | 3 | 1.737-1.714 | 2 |