**SCREENING REPORT**

**Test Number:** 14681B01  **Date:**2021-03-05

**Sample Name:** VDL VDL6062100

**Chemistry:** Li-Ion (Polymer)

**Profile Two** **Voltage Statistic Table**

All samples OCV CCV

**Maximum:** **1.817** **1.813**

**Minimum:** **1.802** **1.799**

**Median:** **1.812** **1.808**

**Mean (M):** **1.810** **1.807**

**Stander Deviation (SD):** **0.0055** **0.00515**

**Total Samples:** **5** **5**

**Total Passing Criterion:** **5** **5**

**Total Failing Criterion:** **0** **0**

**95%** **confidence Interval**  1.804 / 1.817 1.801 / 1.813

**Outlier Min/Max** 1.804 / 1.817 1.801 / 1.814

**Total Outlier:** 1 1

**OCV > or =** 1.700**V**

**CCV > or =** 1.500V **@** 250 Ohms for 5 Seconds.

**CUMULATIVE TABLE**

|  |  |  |  |
| --- | --- | --- | --- |
| **All Sample OCV** | | **All Sample CCV** | |
| Voltage Range | Samples | Voltage Range | Samples |
| 1.817-1.812 | 1 | 1.813-1.808 | 2 |
| 1.812-1.807 | 3 | 1.808-1.803 | 2 |
| 1.807-1.802 | 1 | 1.803-1.798 | 1 |
|  |  |  |  |